## Slide 1: Functional Neuroimaging
NEUROSCI 382 / PSY 303
Thursday, Aug 25, 2026
Week 1
Introduction and Chapters 1 & 2

## Slide 2: Class Outline
Perkins LINK 088, Classroom 4
Thursdays 3:05 – 5:45 PM
  2 consecutive periods with ~10 min break
  2 parts:
    lecture (reading assignments)
    lab (hands-on data analysis)

## Slide 3: Class Outline
1st half of the semester:
  physics of MRI and fMRI
  physiological basis of the BOLD signal
Midterm I
2nd half of the semester:
  study design
  data analysis
  clinical applications
Midterm II

## Slide 4: Group projects
Groups of ~4 students
  design your own research study
  program experimental design
  run study (two 2-hour scanning sessions, i.e. 2 participants)
    normally $640/hour!
  analyze data
  Project presentation & Results presentation (10-15 mins each)
  Write-up (~3000 words)

## Slide 5: The class is on Canvas
Read the syllabus!
Lab materials posted in Files
Lecture PDF posted after class in Files

## Slide 6: Textbook

## Slide 7: Reading
Reading assignments typically for lecture part
  they can be long and dense – plan your time wisely
  get together with a study partner!!

## Slide 8: Use of electronic devices
This is a ‘no tech’ classroom
  no electronic devices (laptops, iPads, phones, etc.) are allowed during lectures
    this helps you and your fellow students
  if you need to use a laptop etc. for note taking, or use an electronic device for another reason, please get in touch with me so we can discuss this

## Slide 9: Software
  By next class, download:
  via Duke OIT software:
  Matlab (2026b, or earlier)
    No toolboxes necessary!
  via the internet:
    Statistical Parametric Mapping (SPM):
      https://www.fil.ion.ucl.ac.uk/spm/docs/installation/
      Latest version is SPM25
 bring your laptop to class!

## Slide 10: Grading
30% Midterm I
30% Midterm II
30% Project
10% Labs

## Slide 11
Questions?

## Slide 12: 1. What is fMRI?
What fMRI is NOT!

## Slide 13: fMRI is not bumpology
Phrenology (“Study of mental science”) claimed that bumps on the skull reflected exaggerated functions/traits
it lacked any mechanism underlying its claims
it used anecdotal, rather than scientific, evidence
nevertheless, one of its central ideas persisted:
Localization of Function
Franz Joseph Gall (1758-1828)
from Gall (c. 1810)

## Slide 14: fMRI is not mind-reading
This is not an anti-thought.
This is not a thought.
This is not a thought.
(Though we are getting closer…)

## Slide 15: fMRI is not a simple one-to-one
It’s not enough just to show ‘activation’ in a brain region to know its function:
Insula
  Interoception
  Emotional processing
    Disgust
    Empathy
  Social norm violations
  Consciousness
  Smoking
  Phonological & language processing
  Attention

## Slide 16: fMRI is not invasive
Positron Emission Tomography (PET)
Intracranial Stimulation / Recording

## Slide 17: fMRI is…
… a technique for measuring metabolic correlates of neural activity
uses a standard MRI scanner
acquires a series of images via clever manipulations of magnetic fields / magnetic gradients
measures changes in blood oxygenation levels over time
uses non-invasive, non-ionizing radiation (radio frequencies) to perturb atomic nuclei (e.g. H)
can be repeated many times; can be used for a wide range of participants
combines good spatial and reasonable temporal resolution

## Slide 18: fMRI is a Measurement Technique…

## Slide 19: … that provides information about a wide range of topics…
Cheng, Waggoner, & Tanaka (2001) Neuron
Berns et al. (2006) Science
From bone-dry psychophysics… (ocular dominance columns)
… to existential feelings. (the dread of an upcoming shock)

## Slide 20: … using many Types of MR Imaging
Functional Imaging
(anatomical image illustrating MRS region)
Spectroscopy
Perfusion
Diffusion Tensor Imaging
T1 weighted
T2 weighted
Anatomical Imaging
Functional Imaging (fMRI)
Perfusion
Anatomical Imaging (MRI)
Spectroscopy
Diffusion Tensor Imaging (DTI)
T1-weighted
T2-weighted
Notes: C= choline
Cr =creatine
N = N-acetyl aspartate

## Slide 21: 2. Key Concepts

## Slide 22: Contrast & Resolution
Contrast
  anatomical contrast
  functional contrast
Resolution
  spatial resolution
  temporal resolution
  functional resolution

## Slide 23: Contrast: Conceptual Overview
In vision: contrast is based on the opacity of an object to visible light rays
 darkness of shadow indicates the opacity of the object

## Slide 24: Contrast: Anatomical Contrast
A&B  The quantity being measured: “What?”
  intrinsic tissue properties (e.g., longitudinal relaxation time: 'T1 contrast'; Chapters 3&4)
C&D  An intensity difference between quantities: “How much?”
  “high contrast” if sensitive to small differences (resulting in an overall large intensity range)
Contrast-to-noise ratio (CNR): The magnitude of the intensity difference between quantities divided by (relative to) the overall variability in their measurements
T1
T2
T1
T1
Notes: In MRI, the term contrast is used in two main ways:

## Slide 25: Contrast: Functional Contrast
CNR is critical for fMRI: How confidently can we decide whether a given brain region is (significantly) ‘active' or not?
(unfortunately, CNR in fMRI is rather low…)
3) In fMRI, a statistical comparison between two (or more) experimental conditions.
 Is there a statistically significant difference?
Notes: In fMRI, there is a third usage of the term contrast:

## Slide 26: Contrast & Resolution
Contrast
  anatomical contrast
  functional contrast
Resolution
  spatial resolution
  temporal resolution
  functional resolution

## Slide 27: Resolution: Spatial Resolution
Voxel (3-D volume element): A small rectangular prism that is the basic sampling unit of (f)MRI.
Typical anatomical (MRI) voxel edge size: 0.5-1 mm (e.g., 1 mm X 1 mm X 1mm voxel).
Typical functional (fMRI) voxel edge size: 2-4 mm.
Voxels

## Slide 28: Resolution: Spatial Resolution
Voxels
Voxel (3-D volume element): A small rectangular prism that is the basic sampling unit of (f)MRI.
Typical anatomical (MRI) voxel edge size: 0.5-1 mm (e.g., 1 mm X 1 mm X 1mm voxel).
Typical functional (fMRI) voxel edge size: 2-4 mm.
(in 2D rendition)

## Slide 29: Spatial Resolution: 2D Examples
8mm
4mm
2mm
1.5mm
1mm
 The smaller the voxels, the higher the anatomical resolution

## Slide 30: Resolution: Temporal Resolution
Determining factors:
  Sampling rate – usually repetition time (TR)
  Dependent variable – usually BOLD response
    BOLD response is sluggish, taking 1-3 seconds to rise above baseline and 4-6 seconds to peak
  Experimental design
Many fMRI studies have an effective temporal resolution on the order of ~1-3 seconds (sic!)
  with specialized designs and data acquisition, this can in some cases be improved to a few 100ms (very rare…)

## Slide 31: Resolution: Comparison
temporal resolution
spatial resolution
anatomical resolution

## Slide 32: Resolution: Functional Resolution
The ability of a measurement technique to identify the relation between underlying neuronal activity and a cognitive or behavioral phenomenon.
  basically: the ability to measure what we want to measure…
Functional resolution is limited by both:
  the intrinsic properties of our brain measure (here: hemodynamics in response to neural activity), and
  our ability to manipulate the experimental design to allow variation in the phenomenon of interest.

## Slide 33: Contrast & Resolution
Contrast
  anatomical contrast
  functional contrast
Resolution
  spatial resolution
  temporal resolution
  functional resolution

## Slide 34: 3. History of fMRI

## Slide 35: Timeline of MR Imaging
1920
1930
1940
1950
1960
1970
1980
1990
2000
1924 - Pauli suggests that nuclear particles have angular momentum (spin) and magnetic moment.
1972 – Damadian patents idea for large NMR scanner to detect malignant tissue.
1973 – Lauterbur publishes method for generating images using NMR gradients.
1973 – Mansfield independently publishes gradient approach to MR.
1975 – Ernst develops 2D-Fourier transform for MR.
NMR becomes MRI
1990 – Ogawa and colleagues create functional images using endogenous, blood-oxygenation contrast.
1985 – Insurance reimbursements for MRI exams begin.
M
1937 – Rabi measures magnetic moment of nucleus. Coins “magnetic resonance”.
1944 – Rabi wins Nobel prize in Physics.
1946 – Purcell shows that matter absorbs energy at a resonant frequency.
1946 – Bloch demonstrates that nuclear precession can be measured in detector coils.
1952 – Purcell and Bloch share Nobel prize in Physics.
 purified gases
 bulk matter
MRI scanners become clinically prevalent and mainstay at hospitals.
Notes: M: nuclei have magnetic properties
R: nuclei have resonant frequency
Magnetic moment: related to magnitude of the magnetic field, as well as the direction

## Slide 36: Timeline of MR Imaging
1920
1930
1940
1950
1960
1970
1980
1990
2000
1924 - Pauli suggests that nuclear particles have angular momentum (spin) and magnetic moment.
1937 – Rabi measures magnetic moment of nucleus. Coins “magnetic resonance”.
1944 – Rabi wins Nobel prize in Physics.
1946 – Purcell shows that matter absorbs energy at a resonant frequency.
1946 – Bloch demonstrates that nuclear precession can be measured in detector coils.
1952 – Purcell and Bloch share Nobel prize in Physics.
1972 – Damadian patents idea for large NMR scanner to detect malignant tissue.
1973 – Lauterbur publishes method for generating images using NMR gradients.
1973 – Mansfield independently publishes gradient approach to MR.
1975 – Ernst develops 2D-Fourier transform for MR.
NMR becomes MRI
1990 – Ogawa and colleagues create functional images using endogenous, blood-oxygenation contrast.
1985 – Insurance reimbursements for MRI exams begin.
M
R
 purified gases
 bulk matter
MRI scanners become clinically prevalent and mainstay at hospitals.
Notes: M: nuclei have magnetic properties
R: nuclei have resonant frequency

## Slide 37: Early Uses of NMR
Most early NMR was used for chemical analysis of entire, homogeneous (tissue) samples
  no spatial information / no ‘images’
  no medical applications
1971 – Damadian publishes and patents idea for using NMR to distinguish healthy and malignant tissues
  “Tumor detection by nuclear magnetic resonance”, Science
  shows relaxation time differences in the two tissues
  no image formation method proposed (other than, a few years later, moving person voxel by voxel! See “Indomitable”)
  BUT: first medical application

## Slide 38: Early Uses of NMR
Formation of Images (1973):
Lauterbur describes projection method for creating NMR images using magnetic gradients
Mansfield independently describes similar approach, and subsequently develops echo-planar imaging (EPI; much(!!) faster)

## Slide 39: The First NMR Image
Lauterbur, P.C. (1973). Image formation by induced local interaction: Examples employing nuclear magnetic resonance. Nature, 242, 190-191.
The very first MR image!
2-D projection method: 4 magnetic gradients at 45˚ intervals
Notes: 2-D projection can be derived from several 1-D measurements
zeugmatography: that which is used for joining

## Slide 40: Early Human MR Images (Damadian)

## Slide 41: First human NMR image
Mink5 Image – Damadian (1977)

## Slide 42: Timeline of MR Imaging
1920
1930
1940
1950
1960
1970
1980
1990
2000
1924 - Pauli suggests that nuclear particles have angular momentum (spin) and magnetic moment.
1972 – Damadian patents idea for large NMR scanner to detect malignant tissue.
1973 – Lauterbur publishes method for generating images using NMR gradients.
1973 – Mansfield independently publishes gradient approach to MR.
1975 – Ernst develops 2D-Fourier transform for MR.
NMR becomes MRI
1990 – Ogawa and colleagues create functional images using endogenous, blood-oxygenation contrast.
1985 – Insurance reimbursements for MRI exams begin.
M
R
I
1937 – Rabi measures magnetic moment of nucleus. Coins “magnetic resonance”.
1944 – Rabi wins Nobel prize in Physics.
1946 – Purcell shows that matter absorbs energy at a resonant frequency.
1946 – Bloch demonstrates that nuclear precession can be measured in detector coils.
1952 – Purcell and Bloch share Nobel prize in Physics.
MRI scanners become clinically prevalent and mainstay at hospitals.

## Slide 43: Advantages of MRI
high-resolution images that can visualize a variety of tissues (bones, soft tissue, etc.) in the same image
does not require ionizing radiation (different from x-rays, CT scans)
can obtain images in any plane through the body

## Slide 44: Timeline of MR Imaging
1920
1930
1940
1950
1960
1970
1980
1990
2000
1924 - Pauli suggests that nuclear particles have angular momentum (spin) and magnetic moment.
1972 – Damadian patents idea for large NMR scanner to detect malignant tissue.
1973 – Lauterbur publishes method for generating images using NMR gradients.
1973 – Mansfield independently publishes gradient approach to MR.
1975 – Ernst develops 2D-Fourier transform for MR.
NMR becomes MRI
MRI scanners become clinically prevalent and mainstay at hospitals.
1990 – Ogawa and colleagues create functional images using endogenous, blood-oxygenation contrast.
1985 – Insurance reimbursements for MRI exams begin.
M
R
I
f
1937 – Rabi measures magnetic moment of nucleus. Coins “magnetic resonance”.
1944 – Rabi wins Nobel prize in Physics.
1946 – Purcell shows that matter absorbs energy at a resonant frequency.
1946 – Bloch demonstrates that nuclear precession can be measured in detector coils.
1952 – Purcell and Bloch share Nobel prize in Physics.

## Slide 45: Physiology (BOLD Contrast)
Blood-Oxygenation-Level Dependent contrast
(see chapters 6&7)
Oxy-Hb & deoxy-Hb have different magnetic properties
Notes: oxygenated blood stronger signal (diamagnetic, less perturbation of magnetic field) than deoxygenated blood (paramagnetic)!

## Slide 46: Using fMRI to Study Brain Function
Simple visual stimulation paradigm (Kwong et al., 1992)
 functional changes over time!
Beginning of a success story…

## Slide 47: Growth in fMRI: Published Studies

## Slide 48: 4. MRI Scanners

## Slide 49: Slight variations - same principle
GE
Siemens
Philips

## Slide 50: MRI scanner setup

## Slide 51: Main Components of a Scanner
Magnetic: Static Magnetic Field Coils
Resonance: Radiofrequency Coil
Imaging: Gradient Magnetic Field Coils
Others:
Shimming Coils
Data transfer and storage computers
Physiological monitoring, stimulus presentation, and behavioral recording hardware

## Slide 52: 1. Magnetic: Static Field Coils
19th century: electrical current-carrying wire induces perpendicular magnetic field  Electromagnets
  magnetic field strength is proportional to current strength
2 important aspects for MRI: homogeneity & field strength
Helmholtz pair
Solenoid
B0: Right-hand
thumb rule
Area of max.
uniformity
Modern MRI:
Combination of both
if l >> d, highly homogeneous

## Slide 53: 1. Magnetic: Static Field Coils
19th century: electrical current-carrying wire induces perpendicular magnetic field  Electromagnets
  magnetic field strength is proportional to current strength
2 important aspects for MRI: homogeneity & field strength
MRI scanners contain dense parallel coilings of wires, which generate the large, static, main magnetic field (B0, e.g. 3T).
The magnet is always on!!!

## Slide 54: 2. Resonance: Radiofrequency Coils
Strong magnetic field itself does not produce the MR signal!
instead: electromagnetic coils send & receive oscillating electromagnetic fields
  at the resonant frequency of atomic nuclei
    typically in radio frequency range (MHz) in large B0’s
  turned on very briefly!
  Sequence of events:
    atomic nuclei align with static magnetic field B0
      excitation at resonant frequency using radiofrequency coils
        absorption of radiofrequency pulse energy by atomic nuclei
          release of absorbed energy after cessation of RF pulse
            emitted energy is received by RF coils
 Raw MR signal!

## Slide 55: RF (Head) Coil Types
Surface Coil
Volume Coil
Phase-Array Coil
received signal intensity is inversely proportional to distance from object

## Slide 56: 3. Imaging: Gradient Coils
z-gradient
3 Gradient coils produce orthogonal magnetic gradients in x, y, and z dimensions
z-Gradient (longitudinal gradient, along B0):
Maxwell pair
Notes: http://mri-q.com/how-do-z-gradients-work.html

## Slide 57: x- & y-Gradient Coils
x- and y-gradients (transverse gradients)
  produce gradients perpendicular to B0 and z-Gradient
Golay pair
Gy
Golay pair
Notes: http://mri-q.com/x--and-y--gradients.html

## Slide 58: Gradient Coils
Gradient coils produce linear magnetic gradients
  the resonance frequency of atomic nuclei depends on strength of external magnetic field
    received RF signal becomes spatially dependent!
  typically turned on briefly after RF pulse
Three gradient coils are used, one in each of the 3 cardinal axes relative to the main magnetic field B0.
These allow the spatial encoding of the MR signal.

## Slide 59: 5. MRI Safety

## Slide 60: MRI is a non-invasive technique
MRI itself is not harmful
  the magnetic field strengths (1.5T, 3T) that are in common use today have no known long-term negative effects on biological tissues
  it is therefore considered a ‘non-invasive’ technique
  Erhard et al. (1995) study…
    45% reported ‘unusual sensations’ in 4T scanner
    (scanner had been powered down - no B0!)

## Slide 61: MRI safety - external objects
Hospital Nightmare
Boy, 6, Killed in Freak MRI Accident July 31, 2001 — A 6-year-old boy died after undergoing an MRI exam at a New York-area hospital when the machine's powerful magnetic field jerked a metal oxygen tank across the room, crushing the child's head. …
ABCNews.com

## Slide 62: B0 in action

## Slide 63: Component – Safety Concerns
Main Magnet
  Projectile Effects
  Translation
  Torsion
Gradients
  effect of a gradient is a function of: ΔB/Δt
  gradient switching can generate small electric current (don’t cross hands/legs)
  peripheral nerve stimulation
  interfere with medical devices
RF coils
  SAR (amount of electromagnetic energy absorbed by the body over time)
  Tissue heating, burns
  Metal wires – refocusing pulse
Each main component of a scanner has a specific associated safety risk

## Slide 64: Safety questionnaire

## Slide 65: Questions?